Table 1

Respondents Characteristics

| No | Characteristics | Number of Respondents | Percentage (%) |
| --- | --- | --- | --- |
| 1. | Gender |  |  |
|  | Male | 158 | 36,7 |
|  | Female | 272 | 63,3 |
| 2. | The Class Year Entering |  |  |
|  | 2016 | 13 | 3,0 |
|  | 2017 | 35 | 8,1 |
|  | 2018 | 52 | 12,1 |
|  | 2019 | 330 | 76,7 |
| 3. | Faculty |  |  |
|  | Economics and Business | 58 | 13,5 |
|  | Pharmacy | 15 | 3,5 |
|  | Law | 44 | 10,2 |
|  | Cultural Sciences | 66 | 15,3 |
|  | Social and Political Sciences | 94 | 21,9 |
|  | Medicine | 29 | 6,7 |
|  | Dentistry | 15 | 3,5 |
|  | Mathematics and Natural Sciences | 62 | 14,4 |
|  | Geological Engineering | 19 | 4,4 |
|  | Agricultural Industrial Technology | 28 | 6,5 |

Table 2

Respondents Behavior

|  | f | Percentage % |
| --- | --- | --- |
| Have you ever used the Jalatista |  |  |
| Yes | 227 | 52,8 |
| No | 203 | 47,2 |
| The Jalatista locations ever used |  |  |
| - Bale Santika | 33 | 14,5 |
| - Faculty of Law | 25 | 11,0 |
| - Faculty of Cultural Sciences | 70 | 31,0 |
| - Faculty of Social and Political Sciences | 9 | 4,1 |
| - Faculty of Mathematics and Natural Sciences | 6 | 2,7 |
| - Faculty of Agricultural Industrial Technology | 11 | 4,9 |
| - Gor Jati | 21 | 9,3 |
| - Masjid Raya Unpad | 29 | 12,6 |
| - Rectorate 1 (in front of bale sawala) | 18 | 7,7 |
| - Rektorat 2 (right side of bale sawala) | 5 | 2,2 |
| Using the Jalatista other than for drinking |  |  |
| Yes | 74 | 32,6 |
| No | 153 | 67,4 |
| 1. Washing hands | 46 | 20,26 |
| 2. Washing face | 20 | 8,81 |
| 3. Wudu | 8 | 3,52 |
| Reusing the Jalatista |  |  |
| Very impossible | 3 | 1,3 |
| Impossible | 7 | 3,1 |
| Neither impossible nor possible | 60 | 26,4 |
| Possible | 69 | 30,4 |
| Very Possible | 88 | 38,8 |
| Recommend to friends to use the Jalatista |  |  |
| Very impossible | 3 | 1,3 |
| Impossible | 9 | 4,0 |
| Neither impossible nor possible | 66 | 29,1 |
| Possible | 68 | 30,0 |
| Very Possible | 81 | 35,7 |
| Found the Jalatista not working properly |  |  |
| Yes | 276 | 64,2 |
| No | 154 | 35.8 |
| - Dirty water | 62 | 22,5 |
| - Water doesn't flow | 96 | 34,8 |
| - Not working | 118 | 42,8 |

Table 3

Respondents Level of Trust

| No | Statement | Very impossible | Impossible | Neither impossible nor possible | Possible | Very likely | Score | TCR | Category |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | The Jalatista program has been well managed | 45 | 107 | 177 | 66 | 35 | 1229 | 57,2% | Not good |
| 2. | The Jalatista program management officers are sufficient | 46 | 137 | 162 | 47 | 38 | 1184 | 55,1% | Not good |
| 3. | Competent management officer to carry out maintenance of the Jalatista facilities | 35 | 119 | 176 | 60 | 40 | 1241 | 57,7% | Not good |
| 4. | The water quality of the Jalatista program is drinkable | 40 | 66 | 141 | 121 | 62 | 1389 | 64,6% | Not good |
| Score Percentage |  |  |  |  |  |  |  | 58,7% |  |

Table 4

Respondents Perception

| No | Statement | Very impossible | Impossible | Neither impossible nor possible | Possible | Very likely | Score | TCR | Category |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | The Jalatista program has been implemented by the program objectives | 17 | 61 | 180 | 131 | 41 | 1408 | 65,5% | Pretty good |
| 2. | I feel that the Jalatista facilities are by the standards that have been set | 31 | 85 | 170 | 103 | 41 | 1328 | 61,8% | Pretty good |
| 3. | The Jalatista facilities are easy to reach for me | 39 | 77 | 84 | 140 | 90 | 1455 | 67,7% | Pretty good |
| 4. | The Jalatista program is useful for me | 16 | 51 | 127 | 127 | 109 | 1552 | 72,2% | Pretty good |
| 5. | I am satisfied with the Jalatista program | 25 | 55 | 150 | 133 | 67 | 1452 | 67,5% | Pretty good |
| Score Percentage |  |  |  |  |  |  |  | 66,9% |  |

Table 5

Results of the Microbiological Quality of Drinking Water

| No | Location | Tap Water Position | Drinking water (CFU/100mL) | Observation |  | Conclusion |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Bale Santika | Tap water 1 | Coliform : 0 E.Coli : 0 | Unfavorable conditions such as the ceramic that has been released on the jalatista wall and the disposal container has rust. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 0 E.Coli : 0 |  |  | Drinking water has satisfied the standard. |  |
| 2. | Faculty of Law | Tap water 1 | Coliform : 0 E.Coli : 0 | Good condition, clean but on the disposal container there is rust. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 0 E.Coli : 0 |  |  | Drinking water has satisfied the standard. |  |
| 3. | Faculty of Cultural Sciences | Tap water 1 | Coliform : 0 E.Coli : 0 | Good condition, clean but the drain container has rust and very little water flowing from the tap water. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 4 CFU E.Coli : 0 |  |  | Drinking water does NOT satisfy the standards. |  |
| 4. | Faculty of Social and Political Sciences | Tap water 1 | Coliform : 0 E.Coli : 0 | Good condition, clean but on the disposal container there is rust. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 6 CFU E.Coli : 0 |  |  | Drinking water does NOT satisfy the standards. |  |
| 5. | Faculty of Mathematics and Natural Sciences | Tap water 1 | Coliform : 0 E.Coli : 0 | Good condition, clean but on the disposal container there is rust. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 0 E.Coli : 0 |  |  | Drinking water has satisfied the standard. |  |
| 6. | Faculty of Agricultural Industrial Technology | Tap water 1 | Coliform : 0 E.Coli : 0 | Good condition, clean but on the disposal container there is rust. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 1 CFU E.Coli : 0 |  |  | Drinking water does NOT satisfy the standards. |  |
| 7. | Gor Jati |  | Tap water 1 | Coliform : 0 E.Coli : 0 | The condition is good, clean, but in the disposal container there is rust and the place is very open, there are no obstructions such as trees or buildings that can make users take water comfortably. |  | Drinking water has satisfied the standard. |
|  |  |  | Tap water 2 | Coliform : 0 E.Coli : 2 CFU |  |  | Drinking water does NOT satisfy the standards. |
| 8. | Mesjid Raya Unpad |  | Tap water 1 | Coliform : 1 CFU E.Coli : 0 | Good condition, clean but on the disposal container there is rust. |  | Drinking water does NOT satisfy the standards. |
|  |  |  | Tap water 2 | Coliform : 0 E.Coli : 0 |  |  | Drinking water has satisfied the standard. |
| 9. | Rectorate 1 | Tap water 1 | Coliform : 0 E.Coli : 0 | Clean, well-maintained condition. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 4 CFU E.Coli : 0 |  |  | Drinking water does NOT satisfy the standards. |  |
| 10. | Rectorate 2 | Tap water 1 | Coliform : 0 E.Coli : 0 | Clean, well-maintained condition. |  | Drinking water has satisfied the standard. |  |
|  |  | Tap water 2 | Coliform : 0 E.Coli : 0 |  |  | Drinking water has satisfied the standard. |  |

Description

A	: Tap water 1 right side.

B	: Tap water 2 left side

CFU	: Colony Forming Unit

Graph 1. Information Exposure of Respondents about the Jalatista Tap Water Program